## Slide 1: In vivo imaging
BxPC3 xenograft
5 min FAPI acquisition, 15x
Chart: Wash in curve of MB in tumor
Imaging transducer
Water bowl
Tumor/focus
Mouse
Imaging schematic
Notes: We can do all the in vitro optm. If doesn’t work in vivo, useless
Set up imaging set up
BxPC3 xenograft in nude mice
Injected microbubbles, observed over 5 min period
Wash-in, wash out.
Drawing ROI over tumor, can assess MB half-life
If you watch closely, can see accumulation inside the tumor

## Slide 2: In vivo overlay
5mm
A
B
Purple – FA
Green – FAPI
Notes: Another practical use – overlay the “normal” + contrast
Here, FA is in…. Realt time
In the B image, we have max intensity over 5 sec, can identify sub mm structures
Low frequency contrast imaging is effective!
Extra benefit (using low freq) – closer to therapeutic freq range
 USgFUS with single probe.

## Slide 3
5mm
Pre-treatment
Post-treatment
Chart: Change in contrast signal at focus
| Pre treatment | Post treatment
 | 0.90786 | 0.55672
*
*p < 0.01
MB injection
>7
minutes
Pre-treatment FAPI
(confirm MB)
USgFUS treatment
Post-treatment FAPI
MB injection
Chart: Verasonics voltage setting (V)
| 1.6 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60
 | -0.13839 | -0.48105 | -0.93904 | -1.3509 | -1.7463 | -2.1746 | -2.57 | -2.9654 | -3.4926 | -4.1186 | -4.6129 | -5.1895 | -5.7661
P4-1 output pressure (at focus)
Treatment timeline
Chart: 
Chart: Time (s)
Notes: Beam map of focused beam, characterized pressure output
Combined with MB, sufficient to cause bubble cavitation  therapeutic effect
USgFUS treatment – collect FA, choose treatment foci on screen, steer the beam
In the experiment timeline….
Drew ROI over... Plotted against time
Overall, saw 39% reduction in perfusion into treatment focus